## Slide 1: CO244 – Restricted Access –Must Be Inducted Risk Register is found by the entry Doors, please read and familiarise yourself with the Risks and Controls required in this Room MSDS are found in Folder near Door
Risks in this Room
  Hot Equipment
  Laser Light source
  UV light Source
  Electrical Equipment
  Chemicals
  Dust and Noise
General Lab Rules for this Lab
  No Food or drink to be consumed in the room
  Required School supplied PPE must be worn
  Work must not be carried out without the correct PPE
  If you need PPE or think that it is not correct for the task - discuss with Supervisor, Technicians, H&S Rep
  Work must be carried out in the appropriate areas
  Report incidents/accidents
  Report all broken equipment/Desks/chairs
  Covered Footwear at all times- no jandals or bare feet permitted

## Slide 2: CO244 Lab Briefing
SAFETY PROCEDURES:
Chemicals:
Risks:
PPE must be worn at all times when using chemicals. PPE consists of Lab coat, rubber or nitrile gloves and safety glasses and covered footwear. Do not use any of the chemicals unless you have be trained to use them. MSDS’s are available for all chemicals currently CO244 in the yellow folder by the door. The room is restricted access. Some are irritants and some are oxidisers.
All spills must be reported. There is a spill clean up kit under the table next to the Chemicals cabinet.
Chemicals must not be removed from the Lab, unless approval is given from Technicians. Any Chemicals removed must be moved in approved vessels.
Chemicals should be used on the wet side of the room wherever possible.

## Slide 3: CO244 Lab Briefing
Lasercutter:
Risks:
Laser light is a bright point source. Do not stare at point. Do not defeat the safety interlocks.
Edges of acrylic maybe sharp after cutting. Handle with care.
Laser cutter requires the full extraction system to be operating while laser cutter is operating. This produces a lot of noise so hearing protection must be worn.
Do not leave laser cutter unattended for long periods.
The cutter may produce smoke or flame when cutting. Only cut approved materials. If you would like to cut a material that has not been approved, then you must see a Technician. If a fire starts, use the fire extinguisher on the wall besides the laser cutter to attempt to extinguish.
UV Exposure Box:
Risks:
UV light source has potential to blind and cause burns to exposed skin. Do not defeat the safety interlocks.

## Slide 4: CO244 Lab Briefing
Acyrlic Bender:
Risks:
Correct PPE must be worn when using the bender. Acrylic gets hot enough to cause minor burns, so gloves must be worn.
Exposed heating element may be hot when cover is opened, even though current is no longer flowing. Do not touch. Do not defeat interlocks.
PCB Guillotine:
Risks:
Shape blade and pinch point. Only cut PCB material. Do not defeat safety guards.

## Slide 5: CO244 Lab Briefing
PCB Mills:
Risks:
Milling PCBs produces dust. This dust is a combination of copper particles and fibreglass particles. Extraction system must be running whenever the mill is running. If the mill displays a message saying the extraction system is full, please see a Technician. They are the only ones who can empty the extraction system.
PPE must be worn when emptying the extraction system. PPE is safety glasses, dust mask and a lab coat.
PCB’s milled have some sharp points on there edges once removed from the panel. These can be filed down.
Wash hands after handling PCBs if they have dust on them.
Do not stick hands into mill operating area while mill is operating. Do not defeat safety interlocks.
The extraction system is noisy. Hearing protection must be worn while extraction system is running.

## Slide 6: CO244 Lab Briefing
Hand Tools:
Risks:
Tools can be sharp. If you cut yourself, see one of the Technicians for first aid.
When using battery drill ensure workpiece is safely secured such that the workpiece will not fly off.
Ensure the tool you are using is appropriate for the task you are wanting to do. If you are unsure ask a Technician.
Correct PPE must be worn. Minimum is covered shoes, however Safety Glasses and/or gloves maybe required.